## Customer Requirements
Multiroom
Project Intake Form | [8 empty] | Document Owner: Stephen Craggs, stephen.craggs@signify.com
Hotel Name & Location
|  | Room Type | Standard | Executive | Suite | Room Type | Room Type | Room Type | Add more types if required >
|  | Qty of Room Type | 100 | 50 | 25 | 0 | 0 | 0
| Feature / Option | Questions & Considerations | Room Type A | Room Type B | Room Type C | Room Type D | Room Type E | Room Type F
Guest Occupancy | A - Sensors & Logic | For best guest experience and energy efficiency, guest detection with door and occupancy sensors are recommended.
Choose A or B | B - Keycard Slot | If you don’t use guest detection, a keydrop is a more traditional method, albeit less reliable as it is easily bypassed, leaving systems running all the time.
HVAC | A - HVAC Control | For granular control over heating and cooling (temperature set point & fan speed), we need to control valves and fancoil directly. Please confirm what type of system they have in place to verify this.
Choose A or B | B - HVAC Switching | If we cannot control directly, or they want a more simple system with hard swithcing (on or off states only), we can control the power to the cooling/heating and link this to statuses such as check-in and occupancy.
Room Features | Blinds / Curtains Control | Do they have motorised curtains or blinds in the room that require control? If so, please capture how many (e.g. sheer + curtain) and if a specific system is in place (e.g. Somfy)
| GPO (Power Outlets) Control? | Do they want to control the power to the outlets in the room? Either for device switching such as the television upon check-in or occupancy, or to conserve standby power from items like coffee machines when there is no occupancy.
| System Networking (RoomFlex?) | Will the system be networked (room to room) or will each be standalone?
Core Integrations | PMS Integration | If networked, can we integrate with the PMS to receive check-in events and synchronize room status (Privacy, Make Up Room etc.). Please capture the PMS system that they have installed, we have native support and a certified interface for Oracle Opera (Micros Fidelio) in RoomFlex.
| Door lock Integration | If networked, do they have a centralized door lock system such as Vingcard installed? If so we can integrate and further customize the room settings such as lighting to bright and temperature conserved for staff entry rather than use guest preferences.
| Other System Integration | Please detail any other customer integraton requirements
Lighting Controls | Switched Lighting | Do they want to include switched (on/off only) lighting circuits in the control? This is ideal for reading lamps, bedside, wall, table and floor lamps.
| - approx. circuits (qty) | Please define the number of switched circuits required per room (including bathroom & entrance)
| Dimmable Lighting | Do they want to include switched (on/off only) lighting circuits in the control? This is ideal for downlights and cove lighting to help create different moods and scenes in the room (relax, work, bright etc.)
| - approx. circuits (qty) | Please define the number of dimmable circuits required per room (including bathroom & entrance) and include the dimming technology (Leading Edge / Trailing Edge / DALI / DMX etc.)
| Tunable / Colored Light | Do they want to include any color changing or tunable white light in the room to further enhance moods or branding? If so please capture the number of circuits and control technology required (DALI / DMX etc.)
| AntiStumble nightlight | Do they want to include our sensor based nightlight system AntiStumble? We add bedside sensors and include the bathroom occupancy sensor to automatically switch a low level light for navigation to the bathroom overnight. This can be automatically activated in a 'night' or 'all off' scene.
| Wake-Up lighting | Do they want to add our wakeup lighting scenes in any rooms? See our accompanying Wakeup lighting presentation for full details.
User Interfaces | Philips or 3rd Party? | Does the hotel want to use Philips networked panels? Please specify if Antumbra or Revolution can be used or if a third party panel is required
If Philips Panels:
| Buttons | Are buttons required? Common is entrance, bedside left & bedside right. Optionally they can add bathroom and desk/lounge areas, if motorized curtains are used a further panel could be added near the window or balcony.
| - required qty & ways | How many buttons are required on each panel? Antumbra offers 2, 4 or 6 and Revolution offers 1-24 buttons per panel.
| Displays | Are Antumbra Display units required? Commonly they are used as a thermostat but sometimes also at the bedside to provide additional information such as the clock and alarm setting.
| - required qty & functions | How many buttons are required on each panel? Antumbra offers 2, 4 or 6 and Revolution offers 1-24 buttons per panel.
If 3rd Party Panels:
| Panel Type | Are the third party panels dry contact compatible?
| Indicators | Do they require LED indicators on the panels to show current status (on/off). If so, our DLLI8I8O module is required (1 per 8 switch)
IT & Networking | IT Network - IP to the room, Dynet floor? | Does the hotel have IP to the room or only on a floor level?
| BMS (Mechanical) system link? | As well as our system manager and dashboard, do they require integration to Building Management Systems?
| - Method / Protocol | What is the protocol of the BMS? The majority of systems are able to communicate centrally over BacNet for example
| Statuses Required | What room statuses doe the hotel operate and would like to synchronize from the room to our dashboard and other systems such as Oracle Opera (PMS)
| - DND (Privacy) | Is this required and to what systems should it be synchronized?
- MUR (Clean Room)
- Laundry Pickup
- Others (Service, Butler Call etc.)
Additional Sensors & Inputs | Room Safe Status (Locked / Unlocked Visibility) | Is this required and what integration method(s) do the room safes provide?
| Humidity Sensor | Is this required and where should the data be displayed (Dashboard only by default)