## Cover
Room Alerts - Configuration Project Intake
Project Details | Project Name
Compelted by
Date

## Configuration
Room Alerts - Configuration Project Intake
Category | Type | Trigger Levels |  | Elapsed Times |  | Severity | Notifications |  |  |  | Notes
|  | Low | High | Before Alert | Repeat Alert |  | Email? | Recipients(s) | Integration? | Name
Standard Alerts
Room Statuses & Services | Privacy / DND | n/a |  | 48 hrs | 48 hrs | Warning
| Make Up Room |  |  | 6 hrs | 6 hrs | Warning
| Laundry Valet / Pickup |  |  | 3 hrs | 3 hrs | Warning
| Service Pickup |  |  | 3 hrs | 3 hrs | Warning
Environmental | Temperature (Actual) | 16°C | 28°C | 2 hrs | 24 hrs | Warning
| Humidity | 25% | 75% | 2 hrs | 24 hrs | Warning
Doors | Entrance Door | n/a | Open / Ajar | 30 mins | 24 hrs | Warning
| Balcony Door |  | Open / Ajar | 6 hrs | 24 hrs | Warning |  |  |  |  | Repeat line if mutliple balconies
System & Devices | Room Device Offline | n/a |  | 10 mins | 48 hrs | Warning
| Network Device Offline |  |  | 5 mins | 2 hrs | Critical
| PMS Offline |  |  | 5 mins | 2 hrs | Critical
Special Alerts (Requires special sensors and/or compatible hardware)
Doors | Room Safe | Locked upon Check-Out |  | Immediate | 24 hrs | Critical
HVAC | FCU Filter Dirty | n/a |  | 2 hrs | 48 hrs | Critical
| FCU Drip Tray Full |  |  | Immediate | 24 hrs | Critical
Monitoring | Water Leak | n/a |  | Immediate | 24 hrs | Critical
| Soil Mositure | 10% | n/a | 12 hrs | 24 hrs | Warning

## Options (hidden)
Warning | Immediate | 1 hr | 0% | 0°C
Critical | 5 mins | 2 hrs | 5% | 2°C
| 10 mins | 3 hrs | 10% | 4°C
Yes | 15 mins | 4 hrs | 15% | 6°C
No | 20 mins | 5 hrs | 20% | 8°C
| 25 mins | 6 hrs | 25% | 10°C
| 30 mins | 7 hrs | 30% | 12°C
| 35 mins | 8 hrs | 35% | 14°C
| 40 mins | 8 hrs | 40% | 16°C
| 45 mins | 10 hrs | 45% | 18°C
| 50 mins | 11 hrs | 50% | 20°C
| 55 mins | 12 hrs | 55% | 22°C
| 60 mins | 13 hrs | 60% | 24°C
| 1.5 hrs | 14 hrs | 65% | 26°C
| 2 hrs | 15 hrs | 70% | 28°C
| 2.5 hrs | 16 hrs | 75% | 30°C
| 3 hrs | 17 hrs | 80% | 32°C
| 3.5 hrs | 18 hrs | 85% | 34°C
| 4 hrs | 19 hrs | 90% | 36°C
|  | 20 hrs | 100% | 38°C
|  | 21 hrs |  | 40°C
22 hrs
23 hrs
24 hrs
36 hrs
48 hrs